[Date]

Faisal A

[Company name]

[Company address]

BIPVT Solar COllector

Capstone Design & Thermal Performance Analysis

Contents

1. Project Overview	2

2. Problem Definition & Context	2

3. System Description	3

4. Engineering Objectives & Requirements	4

5. Design Concepts Explored	5

6. Modelling & Analysis Approach	6

7. Key Calculations & Performance Metrics	6

8. Results & Performance Evaluation	7

9. Design Tradeoffs & Decisions	8

11. Tools, Skills & Engineering Methods	9

12. My Role & Team Contributions	10

13. Links & Deep Dives	10

# 1. Project Overview

This capstone project focused on designing and optimizing a building-integrated photovoltaic/thermal (BIPV/T) solar air collector for residential heating. The aim was to recover heat from PV panels while keeping their temperature lower to improve electricity generation.

Computational Fluid Dynamics (CFD) simulations and analytical calculations evaluated passive airflow enhancements, including baffles and turbulence-promoting features. The project applied principles of fluid mechanics, heat transfer, and thermal system design within a collaborative, team-based capstone environment.

Multiple airflow enhancement concepts were explored to improve convective heat transfer and outlet air temperature. The final design demonstrates how modest changes to the air channel can efficiently extract thermal energy, benefiting both heating efficiency and PV performance.

Figure 1: Reference PV panel used for BIPV/T system design

(bipvt solar panel we got data from and project was based on)

# 2. Problem Definition & Context

Residential heating in Ontario has historically relied on natural gas due to low fuel costs. Rising energy prices and climate targets are motivating low-carbon heating solutions.

Solar photovoltaic (PV) panels convert only part of the sun’s energy into electricity; the rest is lost as heat. Excess heat reduces PV efficiency and can degrade materials over time.

Simplified Thermal Loss Illustration – Conventional PV panel

- A PV panel with heat arrows escaping upward into the environment.

- Why: Immediately shows the inefficiency problem. Matches the text: “Solar PV panels convert only part of the sun’s energy… rest is lost as heat.”

BIPV/T systems recover heat from the underside of PV panels for space heating or as preheated intake for heat pumps. Effective thermal recovery requires well-distributed airflow and turbulence within the air channel.

2. Simplified Thermal Loss Illustration – BIPV/T panel

- PV panel with arrows redirected into a duct, representing thermal recovery.

- Why: Shows the benefit of BIPV/T without going into technical design details yet. This gives a natural “problem → solution” flow.

Conventional air channels often have poor mixing and low turbulence, limiting heat recovery. This project addresses these challenges with passive, cost-effective airflow enhancements.

3. Figure 2c: Comparison of energy lost to the environment vs. energy recovered by BIPV/T.

CURRENT: making two images similar to below but my own, then add Kortright centre images at the start – for now just putting them in as rectangle, later can edit/format it on website or cut image or something.

Solar Radiation

PV Module

Radiative & Convection Heat

Roof

Excess Heat and Heat Loss Wasted

Solar Radiation

Roof

Radiative & Convection Heat

AIR / WATER CHANNEL HEAT EXCHANGE

PV Module

Excess Heat and Heat Loss Captured

Air Inlet

# 3. System Description

The BIPV/T system consists of PV panels mounted above a sealed air channel. Outdoor air flows through the channel, absorbing heat from the panel underside. The heated air can be used directly for space heating or as preheated intake for a heat pump.

Key components:

- Air Channel: Guides airflow beneath PV panels.

- Fan: Ensures consistent airflow

- Enhancement Features: Passive baffles or porous mesh to promote turbulence and mixing

- Inlet & Outlet: Designed to improve uniform flow and pressure distribution

The system balances heat extraction efficiency with low airflow resistance, suitable for residential applications.

*Interactive Idea: A clickable toggle where the schematic image can switch to the real-world photo to show design vs. implementation

1. Figure 3a: Schematic of BIPV/T system (airflow path, duct, PV panels, fan, enhancements)

2. Figure 3b: Real-world photo of site/system (slider toggle with 3a)

3. Figure 3c: Conceptual energy-flow diagram (Sankey/block): a small conceptual energy-flow diagram (Sankey-style or block diagram) here. This would sit below the slider and show how energy moves from sunlight → PV → heat recovery → air heating. It emphasizes system efficiency and design thinking.

# 4. Engineering Objectives & Requirements

The BIPV/T system was designed to achieve the following key objectives:

- Maximize convective heat transfer. Extract the most thermal energy from PV panels.

- Maintain turbulent flow. Ensure effective mixing along the channel.

- Increase outlet air temperature: Without excessive fan power or airflow speed.

- Minimize pressure losses: Ensure stable operation.

- Residential suitability: Simple, low-cost, easy rooftop integration.

Passive enhancements such as fins and porous mesh were implemented to meet these objectives.

- Annotated Schematic Overlay: Take your baseline air channel diagram and overlay small icons/arrows showing how each enhancement addresses a specific objective (e.g., turbulence swirl icon for fins, airflow direction arrow for baffles). This is more subtle than a conceptual flow chart but visually connects objectives to physical features.

- Conceptual Diagram (Target Objectives → Enhancements)

- do a simple flow diagram or annotated schematic:

- Box: “Maximize convective heat transfer” → arrow → “Fins / porous mesh”

- Box: “Maintain turbulent flow” → arrow → “Baffle layout / porous inserts”

- Why: Instantly communicates design rationale; very intuitive for the reader.

# 5. Design Concepts Explored

Several airflow enhancement concepts were developed and evaluated to improve heat transfer within the BIPV/T air channel. These concepts aimed to promote turbulence, mixing, and uniform airflow while remaining feasible for residential implementation:

- Baseline Configuration
No internal airflow enhancements were used. This configuration served as a reference for evaluating the effect of other design strategies.
[Insert Figure 9: Baseline airflow schematic / CFD contour]

- Guiding Wall Concept
Internal walls were introduced to redirect airflow and reduce stagnation zones. This promoted more uniform flow distribution across the channel.
[Insert Figure 10: Guiding wall concept schematic / CFD airflow simulation]

- Fin-Based Enhancement
Longitudinal fins were incorporated to increase surface area and disrupt laminar flow, improving heat transfer between the panel surface and air.
[Insert Figure 11: Fin-based enhancement schematic / CFD airflow & temperature contour]

- Porous Media (Mesh) Enhancement
A porous metal mesh was added to promote turbulence and mixing throughout the air channel without significantly increasing fan power.
[Insert Figure 12: Porous mesh schematic / CFD simulation of airflow]

Each concept was simulated under consistent boundary conditions, enabling direct comparison of performance metrics such as Reynolds number, velocity distribution, and temperature rise. The results informed the selection of a final design that combined fin baffles with a porous metal mesh for optimal performance.

*Interactive Idea: A slider comparing baseline vs final enhanced design airflow could visually highlight the effect of each concept.

# 6. Modelling & Analysis Approach

- Airflow Analysis: Steady-state simulations identified velocity profiles and stagnation zones

- Turbulence Evaluation: Reynolds number and turbulence intensity quantified the effect of enhancements

- Thermal Performance: Outlet temperature rise measured to evaluate heat transfer

Simulations used consistent boundary conditions for fair comparison. Metrics were extracted at key locations to observe trends along the channel.

*create/make Figure: Analysis workflow diagram:

Geometry → Boundary Conditions → CFD Simulation → Post-Processing → Metrics

Or no image – see and adjust

# 7. Key Calculations & Performance Metrics

The performance of each BIPV/T design configuration was evaluated using engineering calculations derived from airflow and thermal simulation outputs. These metrics provided insight into turbulence generation, convective heat transfer effectiveness, and overall system performance.

The primary performance metrics and calculations used are summarized below.

Reynolds Number (Re)

Used to characterize airflow regime and turbulence intensity along the air channel. Reynolds number was calculated at multiple locations along the duct length to assess how each enhancement influenced flow development:

Re=ρ V Dhμ

where ρis air density, Vis average velocity, Dhis hydraulic diameter, and μis dynamic viscosity.

Temperature Rise (ΔT)

Defined as the difference between outlet and inlet air temperatures. This metric served as a direct indicator of convective heat transfer performance and thermal energy recovery:

∆T=TOUT-TIN

Energy Balance (Q)

The thermal energy recovered by the airflow was estimated using a steady-state energy balance:

Q=mcpΔT

where mis the mass flow rate and cpis the specific heat capacity of air.

Effective Thermal Transmittance (Ueff)

An effective thermal transmittance was used to represent heat transfer from the PV panel surface to the airflow:

Ueff=QAΔTavg

where Ais the effective heat transfer area and ΔTavgis the average temperature difference between the panel surface and airflow.

Table 7: Reynolds number, velocity, and temperature — initial concept
 Table 8: Reynolds number, velocity, and temperature — final concept

All calculations were based on steady-state simulation outputs and are intended for comparative evaluation between design configurations rather than absolute performance prediction.

# 8. Results & Performance Evaluation

The final design (fin baffles + porous mesh) improved turbulence and heat transfer without increasing airflow velocity.

- Outlet air temperature increase: ~8.7°C.</li>

- Sustained turbulent flow along full duct length.</li>

- Higher Reynolds numbers vs baseline.</li>

- Improved PV electrical efficiency (~0.4% per °C reduction in panel temperature).

Figure 22: Distance vs Reynolds Number — Initial Concept
Figure 24: Distance vs Reynolds Number — Final Concept

These two side by side

Figure 23: Distance vs Temperature — Initial Concept
Figure 25: Distance vs Temperature — Final Concept

These two side by side

# 9. Design Tradeoffs & Decisions

Key Tradeoffs:

- Passive vs Active: Chose passive enhancements (fins, porous mesh) to reduce energy use and complexity

- Turbulence vs Pressure Loss: Optimized fin/mesh geometry for efficient mixing with minimal resistance

- Manufacturability & Cost: Simplified designs for easy fabrication and rooftop integration

- Flow Uniformity vs Simplicity: Maintained uniform airflow without adaptive control.

Limitations:

- Simulation-only; no experimental validation

- Steady-state assumptions; transient effects (sun, ambient) not modeled.

- Idealized geometries and materials for fins/mesh

- Pressure loss assessed qualitatively, no fan system integration.

Future Work:

- Experimental validation of airflow, turbulence, and temperature rise

- Transient simulations with solar variability and refined turbulence models

- Optimization of fins/mesh for heat transfer vs pressure drop

- Investigate adaptive airflow control (variable fan speed, dampers)

- Integration with full residential air-source heat pump systems.

# 11. Tools, Skills & Engineering Methods

Engineering Tools and Software:

- SolidWorks – 3D modeling and CFD-based airflow and thermal analysis

- Microsoft Excel – data analysis & post-processing

- AutoCAD – control & instrumentation schematics

Figure 18: Convergence graph (only if very clean)

SolidWorks model screenshot of the air channel:” Example of CFD airflow and temperature analysis used to evaluate turbulence and heat transfer trends.”

Technical Skills Applied:

- Fluid Mechanics & Internal Flow Analysis: Evaluated Reynolds number, turbulence intensity, and flow distribution

- Heat Transfer & Thermal Systems Analysis: Calculated temperature rise, energy balances, and effective convective heat transfer

- Performance Metrics Evaluation: Compared multiple design configurations using quantitative metrics.

Engineering Practices:

- Concept Generation & Comparative Design Evaluation: Iteratively developed and compared multiple airflow enhancement concepts.

- Assumptions & Constraint Management: Applied modeling simplifications to maintain tractable simulations.

- Technical Reporting & Communication: Documented methods, results, and design decisions clearly.

Interpretation of simulation results to support design decisions rather than relying solely on numerical outputs

### 12. My Role & Team Contributions

My primary responsibilities focused on technical analysis, design evaluation, and documentation, with additional responsibility for overall project coordination and integration.

- CFD Modeling & Simulation:
Developed and refined the airflow channel model; implemented and evaluated enhancement geometries (fins and porous mesh) to assess airflow behavior and thermal trends.

- Thermal Analysis & Performance Evaluation:
Calculated outlet air temperature rise, Reynolds number, and energy balance to compare baseline, intermediate, and final design configurations.

- Comparative Design Assessment:
Synthesized simulation outputs into clear tables and visualizations to support objective comparison and final design selection.

- Technical Documentation & Reporting:
Integrated simulation results, assumptions, limitations, and design rationale into the final technical report and presentation materials; ensured clarity and internal consistency.

- Project Coordination & Team Support:
Led project organization activities including scheduling team and site meetings, assigning tasks, compiling team contributions, and coordinating final deliverables.

# 13. Links & Deep Dives

This section provides direct access to the full technical outputs, supporting materials, and project code for deeper exploration of the BIPV/T system design and analysis.

- Full Technical Project Report (PDF): [Insert link to final PDF report here] – contains detailed methodology, calculations, simulation results, and design discussions.

- Conference Paper: [Insert link to conference paper or proceedings here] – summarizes key findings and highlights contributions for peer-reviewed presentation.

- Simulation Files / GitHub Repository: [Insert link to GitHub repository] – includes CFD models, scripts, CAD files, and example data for reproducing analyses.

- Portfolio Summary Page: [Optional] [Insert link to portfolio overview or project webpage here] – provides a high-level summary and visual walkthrough of the project.

*Optional Visuals / Interactive Features ideas:

- a grid of icons or cards with hover tooltips for each link to show a brief description.

- For GitHub/Simulation Files, optionally include a preview screenshot of the repository or simulation workflow.

- For the PDF and conference paper, optionally add a thumbnail of the report cover or first page.